SCOPE

This program sets forth requirements for practices and procedures to protect employees engaged in activities within permit-required confined spaces.

Examples of locations where permit-required confined spaces may occur include, but are not limited to, the following: Bins; boilers; pits (such as elevator, escalator, pump, valve or other equipment); manholes (such as sewer, storm drain, electrical, communication, or other utility); tanks (such as fuel, chemical, water, or other liquid, solid or gas); incinerators; scrubbers; concrete pier columns; sewers; transformer vaults; heating, ventilation, and air-conditioning (HVAC) ducts; storm drains; water mains; precast concrete and other pre-formed manhole units; drilled shafts; enclosed beams; vessels; digesters; lift stations; cesspools; silos; air receivers; sludge gates; air preheaters; step up transformers; turbines; chillers; bag houses; and/or mixers/reactors.

DEFINITIONS

The following terms are defined for the purposes of this subpart only:

Acceptable Entry Conditions means the conditions that MUST exist in a permit-required confined spaces, before an employee may enter that space, to ensure that employees can safely enter into, and safely work within, the space.

Attendant means an individual stationed outside one or more permit-required confined spaces who assesses the status of authorized entrants and who MUST perform the duties specified in this program.

Authorized Entrant means an employee who is authorized by the entry supervisor to enter a permit-required confined space.

Barrier means a physical obstruction that blocks or limits access.

Blanking or Blinding means the absolute closure of a pipe, line, or duct by the fastening of a solid plate (such as a spectacle blind or a skillet blind) that completely covers the bore and that is capable of withstanding the maximum pressure of the pipe, line, or duct with no leakage beyond the plate.

Competent Person means one who is capable of identifying existing and predictable hazards in the surroundings or working conditions which are unsanitary, hazardous, or dangerous to employees, and who has the authorization to take prompt corrective measures to eliminate them.

Confined Space means a space that:

- Is large enough and so configured that an employee can bodily enter it;

- Has limited or restricted means for entry and exit; and

- Is not designed for continuous employee occupancy.

Control means the action taken to reduce (NOT ELIMINATE) the level of any hazard inside a confined space using engineering methods (for example, by ventilation), and then using these methods to maintain the reduced hazard level. Control also refers to the engineering methods used for this purpose. Personal protective equipment is NOT a control.

Double Block and Bleed means the closure of a line, duct, or pipe by closing and locking or tagging two inline valves and by opening and locking or tagging a drain or vent valve in the line between the two closed valves.

Early-Warning System means the method used to alert authorized entrants and attendants that an engulfment hazard may be developing. Examples of early-warning systems include, but are not limited to: Alarms activated by remote sensors; and lookouts with equipment for immediately communicating with the authorized entrants and attendants.

Emergency means any occurrence (including any failure of power, hazard control or monitoring equipment) or event, internal or external, to the permit-required confined space that could endanger entrants.

Engulfment means the surrounding and effective capture of a person by a liquid or finely divided (flowable) solid substance that can be aspirated to cause death by filling or plugging the respiratory system or that can exert enough force on the body to cause death by strangulation, constriction, crushing, or suffocation.

Entry means the action by which any part of a person passes through an opening into a permit-required confined space. Entry includes ensuing work activities in that space and is considered to have occurred as soon as any part of the entrant's body breaks the plane of an opening into the space, whether or not such action is intentional or any work activities are actually performed in the space.

Entry Employer means any employer who decides that an employee it directs will enter a permit-required confined space.

Note: An employer cannot avoid the duties of the standard merely by refusing to decide whether its employees will enter a permit-required confined space, and OSHA will consider the failure to so decide to be an implicit decision to allow employees to enter those spaces if they are working in the proximity of the space.

Entry permit (permit) means the written or printed document that is provided by we who designated the space a permit-required confined space to allow and control entry into a permit-required confined space and that contains the information specified in this program.

Entry Rescue occurs when a rescue service enters a permit-required confined space to rescue one or more employees.

Entry Supervisor means the qualified person (such as we, foreman, or crew chief) responsible for determining if acceptable entry conditions are present at a permit-required confined space where entry is planned, for authorizing entry and overseeing entry operations, and for terminating entry as required by this standard.

Note: An entry supervisor also may serve as an attendant or as an authorized entrant, as long as that person is trained and equipped as required by this standard for each role he or she fills. Also, the duties of entry supervisor may be passed from one individual to another during the course of an entry operation.

Hazard means a physical hazard or hazardous atmosphere. See definitions below.

Hazardous atmosphere means an atmosphere that may expose employees to the risk of death, incapacitation, impairment of ability to self-rescue (that is, escape unaided from a permit-required confined space), injury, or acute illness from one or more of the following causes:

- Flammable gas, vapor, or mist in excess of 2% of its lower flammable limit (LFL);

NOTE: We are using 2%, as it is indicated on the calibrated direct-reading instrument screen, in order to ensure that the actual LEL % within the space never exceeds the OSHA established 10% of the LEL.  This action eliminates the need for an entry supervisor to “recalculate” the actual LEL % using the instruments “correction calculation” multiplier.

- Airborne combustible dust at a concentration that meets or exceeds its LFL;

Note: This concentration may be approximated as a condition in which the combustible dust obscures vision at a distance of 5 feet (1.52 meters) or less.

- Atmospheric oxygen concentration below 20% or above 22%;

- Atmospheric concentration of any substance for which a dose or a permissible exposure limit is published in subpart D of this part (Occupational Health and Environmental Control), or in subpart Z of this part (Toxic and Hazardous Substances), and which could result in employee exposure in excess of its dose or permissible exposure limit;

Note: An atmospheric concentration of any substance that is not capable of causing death, incapacitation, impairment of ability to self-rescue, injury, or acute illness due to its health effects is NOT covered by this definition.

- Any other atmospheric condition that is immediately dangerous to life or health (IDLH).

Note: For air contaminants for which OSHA has not determined a dose or permissible exposure limit, other sources of information, such as Safety Data Sheets, published information, and internal documents can provide guidance in establishing acceptable atmospheric conditions.

Hot Work means operations capable of providing a source of ignition (for example, riveting, welding, cutting, burning, and heating).

Immediately Dangerous to Life or Health (IDLH) means any condition that would interfere with an individual's ability to escape unaided from a permit-required confined space and that poses a threat to life or that would cause irreversible adverse health effects.

Note: Some materials-hydrogen fluoride gas and cadmium vapor, for example-may produce immediate transient effects that, even if severe, may pass without medical attention, but are followed by sudden, possibly fatal collapse 12-72 hours after exposure. The victim "feels normal" after recovery from transient effects until collapse. Such materials in hazardous quantities are considered to be "immediately" dangerous to life or health.

Inerting means displacing the atmosphere in a permit-required confined space by a noncombustible gas (such as nitrogen) to such an extent that the resulting atmosphere is noncombustible.

Note: This practice produces an IDLH oxygen deficient atmosphere.

Isolate or Isolation means the process by which employees in a permit-required confined space are COMPLETELY PROTECTED against the release of energy and material into the space, and contact with a physical hazard, by such means as:

- Blanking or blinding;

- Misaligning or removing sections of lines, pipes, or ducts;

- a double block and bleed system;

- lockout or tagout of all sources of energy;

- blocking or disconnecting all mechanical linkages; or

- placement of barriers to eliminate the potential for employee contact with a physical hazard

Limited or Restricted Means for Entry or Exit means a condition that has a potential to impede an employee's movement into or out of a permit-required confined space. Such conditions include, but are not limited to:

- trip hazards,

- poor illumination,

- slippery floors,

- inclining surfaces and

- ladders

Line Breaking means the intentional opening of a pipe, line, or duct that is or has been carrying flammable, corrosive, or toxic material, an inert gas, or any fluid at a volume, pressure, or temperature capable of causing injury.

Lockout means the placement of a lockout device on an energy isolating device, in accordance with an established procedure, ensuring that the energy isolating device and the equipment being controlled cannot be operated until the lockout device is removed.

Lower Flammable Limit or Lower Explosive Limit means the minimum concentration of a substance in air needed for an ignition source to cause a flame or explosion.

Monitor or Monitoring means the process used to identify and evaluate the hazards after an authorized entrant enters the space. This is a process of checking for changes that is performed in a periodic or continuous manner after the completion of the initial testing or evaluation of that space.

Non-Entry Rescue occurs when a rescue service, usually the attendant, retrieves employees from a permit-required confined space WITHOUT ENTERING the permit-required confined space.

Non-Permit Confined Space means a permit-required confined space that meets the definition of a Confined Space but does not meet the requirements for a permit-required confined space.

Oxygen deficient atmosphere means an atmosphere containing less than 19.5 percent oxygen by volume.

Oxygen enriched atmosphere means an atmosphere containing more than 23.5 percent oxygen by volume.

Permit-Required Confined Space (permit-required confined space) means a Confined Space that has one or more of the following characteristics:

- Contains or has a potential to contain a hazardous atmosphere;

- Contains a material that has the potential for engulfing an entrant;

- Has an internal configuration such that an entrant could be trapped or asphyxiated by inwardly converging walls or by a floor which slopes downward and tapers to a smaller cross section; or

- Contains any other recognized serious safety or health hazard.

Physical hazard means an existing or potential hazard that can cause death or serious physical damage. Examples include, but are not limited to:

- Explosives (as defined by paragraph (n) of § 1926.914, definition of "explosive");

- Mechanical,

- electrical,

- hydraulic and pneumatic energy;

- radiation;

- temperature extremes;

- engulfment;

- noise; and

- inwardly converging surfaces.

Physical hazard also includes chemicals that can cause death or serious physical damage through skin or eye contact (rather than through inhalation).

Prohibited Condition means any condition in a permit-required confined space that is not allowed by the permit during the period when entry is authorized.

NOTE: A hazardous atmosphere is a Prohibited Condition unless we can demonstrate that personal protective equipment (PPE) will provide effective protection for each employee in the permit-required confined space and provides the appropriate PPE to each employee.

Qualified Person means one who, by possession of a recognized degree, certificate, or professional standing, or who by extensive knowledge, training, and experience, has successfully demonstrated his ability to solve or resolve problems relating to the subject matter, the work, or the project.

Representative Permit-required confined space means a mock-up of a confined space that has entrance openings that are similar to, and is of similar size, configuration, and accessibility to, the permit-required confined space that authorized entrants enter.

Rescue means retrieving, and providing medical assistance to, one or more employees who are in a permit-required confined space.

Rescue Service means the personnel designated to rescue employees from permit-required confined spaces.

Retrieval System means the equipment (including a retrieval line, chest or full body harness, wristlets or anklets, if appropriate, and a lifting device or anchor) used for NON-ENTRY rescue of persons from a permit-required confined space.

Serious Physical Damage means an impairment or illness in which a body part is made functionally useless or is substantially reduced in efficiency. Such impairment or illness may be permanent or temporary and includes, but is not limited to, loss of consciousness, disorientation, or other immediate and substantial reduction in mental efficiency. Injuries involving such impairment would usually require treatment by a physician or other licensed health-care professional.

Tagout means:

- Placement of a tagout device on a circuit or equipment that has been deenergized, in accordance with an established procedure, to indicate that the circuit or equipment being controlled may not be operated until the tagout device is removed; and

- We ensures that:

  - Tagout provides equivalent protection to lockout; or

  - That lockout is infeasible and we has relieved, disconnected, restrained and otherwise rendered safe stored (residual) energy.

Test or Testing means the process by which the hazards that may confront entrants of a permit-required confined space are identified and evaluated. Testing includes specifying the tests that are to be performed in the permit-required confined space.

Note: Testing enables us both to devise and implement adequate control measures for the protection of authorized entrants and to determine if acceptable entry conditions are present immediately prior to, and during, entry.

Ventilate or Ventilation means controlling a hazardous atmosphere using continuous forced-air mechanical systems that meet the requirements of this program.

GENERAL REQUIREMENTS

Before it begins work at the facility, management MUST ensure that a Qualified Person identifies ALL permit-required confined spaces and identifies each permit-required confined space, through consideration and evaluation of the elements of that space, including testing as necessary.

If the workplace contains one or more permit-required confined space(s), the facility MUST:

- Inform exposed employees by posting DANGER signs or by any other equally effective means, of the existence and location of, and the danger posed by, each permit-required confined space; and

Note: A sign reading "DANGER-PERMIT-REQUIRED CONFINED SPACE, DO NOT ENTER" or using other similar language would satisfy the requirement for a sign.

- Inform, in a timely manner and in a manner OTHER THAN POSTING, its employees' of the existence and location of, and the danger posed by, each permit-required confined space.

If the Department Manager has not authorized employees it directs to work in that permit-required confined space, the Department Manager MUST take effective measures to prevent those employees from entering that permit-required confined space, IN ADDITION TO complying with all other applicable requirements of this program (e.g. posting DANGER signs is NOT enough).

If the facility decides that employees it directs will enter a permit-required confined space, the facility MUST have a written permit-required confined space program. The written program MUST be made available prior to and during entry operations for inspection by employees and their authorized representatives.

PROCEDURES

Alternative Entry Procedures:

The facility may use the “ALTERNATE PROCEDURES” for entering a permit-required confined space ONLY under the following conditions:

- We can demonstrate that ALL PHYSICAL HAZARDS in the space are eliminated or isolated through engineering controls so that the ONLY hazard posed by the permit-required confined space is an actual or potential hazardous atmosphere

- We can demonstrate that CONTINUOUS FORCED AIR VENTILATION ALONE is sufficient to maintain the permit-required confined space safe for entry, and that, in the event the ventilation system stops working, entrants can exit the space safely

- We have monitoring and inspection data that demonstrates the CONTINUOUS FORCED AIR VENTILATION ALONE is sufficient to maintain the permit-required confined space safe for entry

  - If an initial entry into the permit-required confined space is necessary to obtain the monitoring and inspection data, the entry MUST be performed as a PERMITTED-ENTRY meeting the full requirements of this program.

  - The determinations and supporting data are documented by the facility safety department and are made available to each employee who enters the permit-required confined space using the “alternate procedures”; and

  - Entry into the permit-required confined space using the “Alternate Procedures” is performed in accordance with the following:

    - Any conditions making it unsafe to remove an entrance cover MUST be ELIMINATED before the cover is removed (e.g. Verifying the space is empty of hazardous fluids, pressurized gas/vapors, electrical energy, etc.  Essentially the PRCS is verified to be at a ZES as defined by the facility’s LOTO program)

    - When entrance cover(s) are removed, the opening MUST be immediately guarded by a railing, temporary cover, or other temporary barrier that will prevent an accidental fall through the opening and that will protect each employee working in the space from foreign objects entering the space.

    - Before an employee enters the space, the internal atmosphere MUST BE TESTED, with a calibrated (as well as BUMP TESTED) direct-reading instrument, for oxygen content, for flammable gases and vapors, and for potential toxic air contaminants, in that order.

      - Entrants MUST be provided an opportunity to observe the pre-entry testing

        - NO HAZARDOUS ATMOSPHERE IS PERMITTED within the space whenever any employee is inside the space.

    - Continuous forced air ventilation MUST be used, as follows:

      - An employee MAY NOT break the plane of the space until the forced air ventilation has CONTROLLED any hazardous atmosphere;

      - The forced air ventilation MUST be so directed as to ventilate the immediate areas where an employee is or will be present within the space and MUST continue until all employees have left the space;

      - The air supply for the forced air ventilation MUST be from a clean source and MUST not increase the hazards in the space

    - The atmosphere within the space MUST BE CONTINUOUSLY MONITORED.

      - If continuous monitoring is used, the entry supervisor MUST ensure that the monitoring equipment has an alarm that will notify all entrants if a hazardous atmosphere is detected, or that an employee will check the monitor with sufficient frequency to ensure that entrants have adequate time to escape.

      - If continuous monitoring is not used, periodic monitoring is required.

      - All monitoring MUST ensure that the continuous forced air ventilation is preventing the accumulation of a hazardous atmosphere.

      - Any employee who enters the space MUST be provided with an opportunity to observe the atmospheric testing.

    - If a hazard is detected during entry:

      - Each entrant MUST leave the space IMMEDIATELY;

      - The space MUST be evaluated by a Qualified Person to determine how the hazard developed; and

      - We MUST implement measures to protect employees from the hazard before any subsequent entry takes place.

    - We MUST ensure there is a safe method of entering and exiting the space.

      - If a hoisting system is used, it MUST be designed and manufactured for personnel hoisting; however, a job-made hoisting system is permissible if it is approved for personnel hoisting by a registered professional engineer, in writing, prior to use.

    - We MUST verify that the space is safe for entry and that the pre-entry measures have been taken, through a WRITTEN CERTIFICATION that contains the date, the location of the space, and the signature of the person providing the certification.

      - The certification MUST be made before entry and MUST be made available to each employee entering the space.

- When there are changes in the use or configuration of a non-permit confined space that might increase the hazards to entrants, or some indication that the initial evaluation of the space may not have been adequate, the entry supervisor MUST have a competent person reevaluate that space and, if necessary, reclassify it as a permit-required confined space.

Reclassification Procedure

A space classified as a Permit-Required Confined Space may only be “RECLASSIFIED” as a non-permit confined space when a Competent Person determines that ALL of these applicable requirements have been met:

- If the permit-required confined space poses no actual or potential atmospheric hazards AND all Permit-Required Confined Space hazards within the space are eliminated or isolated WITHOUT ENTRY into the space, the permit-required confined space may be “RECLASSIFIED” as a non-permit confined space for as long as the non-atmospheric hazards remain eliminated or isolated;

- The entry supervisor MUST eliminate or isolate the hazards without entering the space.

  - If it is necessary to enter the permit-required confined space to eliminate or isolate hazards, such entry MUST be performed as a FULL PERMITTED ENTRY as required by this program.

  - If testing and inspection during that entry demonstrate that the hazards which made the space a permit-required confined space have been eliminated or isolated, the permit-required confined space may be RECLASSIFIED as a non-permit confined space for as long as the hazards remain eliminated or isolated;

Note: Control of atmospheric hazards through forced air ventilation does NOT constitute elimination or isolation of the hazards. “Alternative Entry Procedures” covers permit-required confined space entry where we can demonstrate that forced air ventilation alone will control all hazards in the space.

The Competent Person MUST document the basis for determining that all hazards in a permit-required confined space have been eliminated or isolated, through a certification that contains:

- the date,

- the name and location of the space, and

- the signature of the Competent Person making the determination.

The certification MUST be made POSTED at the entry portal.

If hazards arise within a RECLASSIFIED permit-required confined space, each entrant MUST exit the space IMMEDIATELY.

A SEPARATE “Competent Person” MUST then reevaluate the space and reclassify it as a permit-required confined space as appropriate in accordance with all other applicable provisions of this standard.

Contractors

Permit-required confined space entry communication and coordination

- Before entry operations begin, the facility MUST provide the following information, if it has it, to all contractors working at the facility:

  - The location(s) of each known permit-required confined space;\

  - The hazard(s) or potential hazard(s) or the reason it is a permit-required confined space; and

  - Any precautions implemented for the protection of employees in the permit-required confined space (e.g. do NOT break the plane of any POSTED PRCS)

- Before a contractor enters a permit-required confined space, the following MUST occur:

  - We provide the contractor(s) the information about the permit-required confined space hazards and previous entry; and

  - Obtain all of the contractor's information regarding permit-required confined space hazards and entry operations; and

  - Inform the contractor of the permit-required confined space program that the facility follows, including any hazards likely to be confronted or created in each permit-required confined space.

- The facility entry supervisor and the contractor responsible-person-in-charge MUST coordinate entry operations.

- After entry operations:

  - The facility entry supervisor MUST debrief each contractor responsible-person-in-charge that had their personnel associated with the entry into the permit-required confined space regarding the permit-required confined space program followed and any hazards confronted or created in the permit-required confined space(s) during entry operations;

PERMIT-REQUIRED CONFINED SPACE PROGRAM

Facility Management (e.g. Plant Manager, Safety Manager, and Department Managers) MUST ensure the following is done PRIOR to any employee or Contractor entering a Permit-Required Confined Space:

- Plant Manager will implement the measures necessary to prevent unauthorized entry;

- The Safety Manager will evaluate the workplace to identify and evaluate the hazards of permit-required confined spaces

- The Department Managers will label each entry portal on a permit-required confined space within their area of responsibility

  - They are also responsible for ensuring an annual audit of this signage to ensure these portals continue to make clear that entry is PROHIBIT without an entry permit or reclassification of the space.

- The Safety Manager will develop and implement (with the direct involvement of Department Managers) the means, procedures, and practices necessary for safe permit-required confined space entry operations, including, but not limited to, the following:

  - Specifying acceptable entry conditions;

  - Providing each authorized entrant with the opportunity to observe any atmospheric monitoring or testing of permit-required confined spaces;

  - Isolating the permit-required confined space and physical hazard(s) within the space;

  - Purging, inerting, flushing, or ventilating the permit-required confined space as necessary to eliminate or control atmospheric hazards;

Note: If we are unable to reduce the atmosphere below 2% LFL, we may only enter if we inert the space so as to render the entire atmosphere in the space non-combustible, and the entrants (and most likely the attendant as well) use PPE to address any other atmospheric hazards (such as oxygen deficiency), and we eliminate/isolate all physical hazards in the space.

  - Determining that, in the event the ventilation system stops working, the monitoring procedures will detect an increase in atmospheric hazard levels in sufficient time for the entrants to safely exit the permit-required confined space;

  - Providing pedestrian, vehicle, or other barriers as necessary to protect entrants from external hazards;

  - Verifying that conditions in the permit-required confined space are acceptable for entry throughout the duration of an authorized entry, and ensuring that employees are not allowed to enter into, or remain in, a permit-required confined space with a hazardous atmosphere unless we can demonstrate that personal protective equipment (PPE) will provide effective protection for each employee in the permit-required confined space and provides the appropriate PPE to each employee; and

  - Eliminating any conditions (for example, high pressure) that could make it unsafe to remove an entrance cover.

  - Develop and implement a system for the preparation, issuance, use, and cancellation of entry permits as required by this standard, including the safe termination of entry operations under both planned and emergency conditions;

  - Develop and implement procedures for summoning rescue and emergency services (including procedures for summoning emergency assistance in the event of a failed nonentry rescue), for rescuing entrants from permit-required confined spaces, for providing necessary emergency services to rescued employees, and for preventing unauthorized personnel from attempting a rescue;

  - Develop and implement procedures to coordinate entry operations, in consultation with contractors, when employees of more than one employer are working simultaneously in a permit-required confined space

  - Develop and implement procedures (such as closing off a permit-required confined space and canceling the permit) necessary for concluding the entry after entry operations have been completed;

  - Retain each canceled entry permit for at least 1 year to facilitate the review of the permit-required confined space program.

  - Review entry operations (with the management personnel who have PRCSs or employees who participate in entries) when the measures taken under the permit-required confined space program may not protect employees and revise the program to correct deficiencies found to exist before subsequent entries are authorized; and

Note: Examples of circumstances requiring the review of the permit-required confined space program include, but are not limited to:

- Any unauthorized entry of a permit-required confined space,

- the detection of a permit-required confined space hazard not covered by the permit,

- the detection of a condition prohibited by the permit,

- the occurrence of an injury or nearmiss during entry,

- a change in the use or configuration of a permit-required confined space, and

- employee complaints about the effectiveness of the program.

- Review the permit-required confined space program, using the canceled permits, within 1 year after each entry and revise the program as necessary to ensure that employees participating in entry operations are protected from permit-required confined space hazards.

Note: We can perform a single annual review covering all entries performed during a 12-month period. If no entry is performed during a 12-month period, no review is necessary.

- The Plant Manager is responsible for providing the following equipment at no cost to employees, maintaining that equipment properly, and ensuring (through the Entry Supervisors) that each employee uses that equipment properly:

  - Testing and atmospheric monitoring equipment

  - Ventilating equipment needed to obtain acceptable entry conditions

  - Communications equipment, including any necessary electronic communication equipment for attendants assessing entrants' status

  - Personal protective equipment insofar as feasible engineering and work-practice controls do not adequately protect employees;

Note: The PPE requirements continue to apply to the use of PPE in a permit-required confined space. For example, if employees use respirators, then the respirator requirements in § 1910.134 (Respiratory protection) MUST be met.

  - Lighting equipment that meets the minimum illumination requirements in § 1926.56, that is approved for the ignitable or combustible properties of the specific gas, vapor, dust, or fiber that will be present, and that is sufficient to enable employees to see well enough to work safely and to exit the space quickly in an emergency;

  - Barriers and shields

  - Equipment, such as ladders, needed for safe ingress and egress by authorized entrants;

  - Rescue and emergency equipment needed to comply with the Rescue Requirements of this program, except to the extent that the equipment is provided by an external rescue service(s); and

  - Any other equipment necessary for safe entry into, safe exit from, and rescue from, permit-required confined spaces.

- An Entry Supervisor is responsible for evaluating the following permit-required confined space conditions when entry operations are conducted:

  - Test conditions in the permit-required confined space to determine if acceptable entry conditions exist BEFORE changes to the space's natural ventilation are made, and before entry is authorized to begin, except that, if a Qualified Person demonstrates that isolation of the space is infeasible because the space is large or is part of a continuous system (such as a sewer), we MUST:

    - Perform pre-entry testing to the extent feasible before entry is authorized; and,

    - If entry is authorized, continuously monitor entry conditions in the areas where authorized entrants are working

    - Provide an early-warning system that continuously monitors for non-isolated engulfment hazards.

      - The system MUST alert authorized entrants and attendants in sufficient time for the authorized entrants to safely exit the space.

  - Instruct, and ensure that, the attendant is capable of continuously monitoring atmospheric hazards

    - If continuous monitoring is not used, a Qualified Person will establish periodic monitoring frequency to ensure that acceptable entry conditions are being maintained during the course of entry operations;

  - When testing for atmospheric hazards, use a CALIBRATED Direct Reading instrument that has been “bump tested” per the manufacturer’s frequency.

    - Test first for oxygen, then for combustible gases and vapors, and then for toxic gases and vapors;

  - Provide each authorized entrant an opportunity to observe the pre-entry and any subsequent testing or monitoring of permit-required confined spaces;

  - Reevaluate the permit-required confined space in the presence of any authorized entrant or that employee's authorized representative who requests that we conduct such reevaluation because there is some indication that the evaluation of that space may not have been adequate;

  - Immediately provide each authorized entrant with the results of any testing conducted in accordance with this program;

  - Provide at least one (1) attendant outside the permit-required confined space into which entry is authorized for the duration of entry operations:

    - At the request of the Entry Supervisor, a Qualified Person may allow, attendants to be assigned to more than one (1) permit-required confined space provided their duties can be effectively performed for each permit-required confined space.

    - Attendants may be stationed at any location outside the permit-required confined space as long as their duties can be effectively performed for each permit-required confined space to which the attendant is assigned.

    - If multiple spaces are to be assigned to a single attendant, include on the permit permit the means and procedures to enable the attendant to respond to an emergency affecting one or more of those permit-required confined spaces without distraction from the attendant's responsibilities;

  - Designate each person (including contractors) who is to have an active role (as, for example, authorized entrants, attendants, entry supervisors, or persons who test or monitor the atmosphere in a permit-required confined space) in entry operations, identify the duties of each such employee, and provide each such employee with the proper training to ensure they can carry out their duties properly;

PERMITTING PROCESS

Before entry is authorized, the Entry Supervisor MUST document the completion of measures by preparing either:

- an entry permit, or

- a Reclassification Certification Form

Before entry begins, the entry supervisor identified on the permit (or Reclassification Certification Form) MUST sign the document to authorize entry.

The completed permit/form MUST be made available at the time of entry to all authorized entrants by posting it at the entry portal or by any other equally effective means, so that the entrants can confirm that pre-entry preparations have been completed.

The duration of an entry-permit may not exceed the time required to complete the assigned task or job identified on the permit.

NOTE:  A PRCS that has been “reclassified” as a NON-PRCS may remain in the reclassified state as long as the conditions that allowed the space to be reclassified are in place.

The entry supervisor MUST terminate entry and take the following action when any of the following apply:

- Cancel the entry permit when the entry operations covered by the entry permit have been completed; or

- Suspend or cancel the entry permit and fully reassess the space (with a Qualified Person) before allowing reentry when a condition that is not allowed under the entry permit arises in or near the permit-required confined space and that condition is temporary in nature and does not change the configuration of the space or create any new hazards within it; and

- Cancel the entry permit when a condition that is not allowed under the entry permit arises in or near the permit-required confined space and that condition is not covered by the entry-permit the Reclassification Form.

Any problems encountered during an entry operation MUST be noted on the pertinent permit so that appropriate revisions to the permit-required confined space program can be made.

The Entry Supervisor MUST provide the safety department their CLOSED permits as soon as the entry has been completed.

ENTRY PERMIT

The entry permit authorizes entry into a permit-required confined space and MUST identify:

- The permit-required confined space to be entered by name, number, or some other obvious means of identification

- The purpose of the entry;

- The date and the authorized duration (Start and Stop times – considering shift changes) of the entry permit;

- The authorized entrants within the permit-required confined space, by name or by such other means (for example, through the use of rosters or tracking systems) as will enable the attendant to determine quickly and accurately, for the duration of the permit, which authorized entrants are inside the permit-required confined space;

Note: This requirement may be met by inserting a reference on the entry permit as to the means used, such as a roster or tracking system, to keep track of the authorized entrants within the permit-required confined space.

- Means of detecting an increase in atmospheric hazard levels in the event the ventilation system stops working;

- Each person, by name, currently serving as an attendant;

- The individual, by full name (PRINTED), currently serving as entry supervisor, and the signature of the entry supervisor who authorizes entry;

- The hazards of the permit-required confined space to be entered;

NOTE: If the space being entered has been RECLASSIFIED to a NON-PRCS, there can be NO PRCS HAZARDS present.

- The measures used to isolate the permit-required confined space and to eliminate or control permit-required confined space hazards before entry;

Note: Those measures can include, but are not limited to, the lockout or tagging of equipment and procedures for purging, inerting, ventilating, and flushing permit-required confined spaces.

- The acceptable entry conditions;

- The results of atmospheric tests and monitoring, accompanied by the names or initials of the testers, documentation that the direct-reading instrument was calibrated and bump tested, and an indication of when the tests were performed;

- The rescue and emergency services that can be summoned and the means (such as the equipment to use and the numbers to call) for summoning those services;

- The communication procedures used by authorized entrants and attendants to maintain contact during the entry;

- Equipment, such as personal protective equipment, testing equipment, communications equipment, alarm systems, and rescue equipment, to be provided for compliance with this standard;

- Any other information necessary, given the circumstances of the particular space, to ensure employee safety; and

- Any additional permits, such as for hot work, that have been issued to authorize work in the permit-required confined space.

TRAINING

We MUST provide training to each employee is involved in ANY WAY with entry into a permit-required confined space, at no cost to the employee, and ensure that the employee possesses the understanding, knowledge, and skills necessary for the safe performance of the duties assigned under this program. This includes:

- specific training on PPE or Equipment that may be used during an entry

- energy isolation methods used to isolate a PRCS (e.g. Double Block and Bleed, Disconnect and Misalignment, and/or Blinding/Blanking)

- the use of atmospheric monitoring equipment

This training MUST result in an understanding of the hazards in the permit-required confined space and the methods used to isolate, control or in other ways protect employees from these hazards, and for those employees not authorized to perform entry rescues, in the dangers of attempting such rescues.

Training MUST be provided to each affected employee:

- In both a language and vocabulary that the employee can understand;

- Before the employee is first assigned duties under this standard;

- Before there is a change in assigned duties;

- Whenever there is a change in permit-required confined space entry operations that presents a hazard about which an employee has not previously been trained; and

- Whenever there is any evidence of a deviation from the permit-required confined space entry procedures or there are inadequacies in the employee's knowledge or use of these procedures.

The training MUST establish employee proficiency in their duties and MUST introduce new or revised procedures, as necessary, to ensure the safety of all personnel working in and around a PRCS.

We MUST maintain training records to show that the training has been accomplished.  The training records MUST contain:

- each employee's name,

- the name of the trainer(s), and

- the dates of training

This training documentation MUST be available for inspection by employees and their authorized representatives, for the period of time the employee is employed.

DUTIES OF AUTHORIZED ENTRANTS

The Department Manager and Entry Supervisor MUST ensure that all of his/her authorized entrants are familiar with and understand the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure

Each Entrant MUST:

- Properly use equipment necessary for a safe entry;

- Communicate with the attendant as necessary to enable the attendant to assess entrant status and to enable the attendant to alert entrants of the need to evacuate the space;

- Alert the attendant whenever:

  - There is any warning sign or symptom of exposure to a dangerous situation; or

  - The entrant(s) detects a prohibited condition

- EXIT from the permit-required confined space as quickly as possible whenever:

  - An order to evacuate is given by the attendant or the entry supervisor;

  - There is any warning sign or symptom of exposure to a dangerous situation;

  - The entrant detects a prohibited condition; or

  - An evacuation alarm is activated.

DUTIES OF ATTENDANTS

The Department Manager and Entry Supervisor MUST ensure that each attendant is familiar with and understands the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure, including the possible behavioral effects of hazard exposure in authorized entrants.

The Attendant MUST:

- Continuously maintains an accurate count of authorized entrants in the permit-required confined space and ensures that the means used to identify authorized entrants accurately identifies who is in the permit-required confined space;

- Remain outside the permit-required confined space during entry operations until relieved by another attendant;

- Communicate with authorized entrants as necessary to assess entrant status and to alert entrants of the need to evacuate the space under § 1926.1208(e);

- Assesses activities and conditions inside and outside the space to determine if it is safe for entrants to remain in the space and orders the authorized entrants to evacuate the permit-required confined space immediately under any of the following conditions:

  - If there is a prohibited condition;

  - If the behavioral effects of hazard exposure are apparent in an authorized entrant;

  - If there is a situation outside the space that could endanger the authorized entrants; or

  - If the attendant cannot effectively and safely perform all the duties required under this section;

- Summons rescue and other emergency services as soon as the attendant determines that authorized entrants may need assistance to escape from permit-required confined space hazards;

- Takes the following actions when unauthorized persons approach or enter a permit-required confined space while entry is underway:

  - Warns the unauthorized persons that they MUST stay away from the permit-required confined space;

  - Advises the unauthorized persons that they MUST exit immediately if they have entered the permit-required confined space; and

  - Informs the authorized entrants and the entry supervisor if unauthorized persons have entered the permit-required confined space;

- Performs NON-ENTRY RESCUES as specified by the rescue procedure stated on the Entry Permit; and

- Performs no duties that might interfere with the attendant's primary duty to assess and protect the authorized entrants.

DUTIES OF ENTRY SUPERVISORS

The Department Manager MUST ensure that each of his/her entry supervisor(s) is familiar with and understands the hazards that may be faced during entry, including information on the mode, signs or symptoms, and consequences of the exposure.

The Entry Supervisor MUST:

- Verify, by checking that the appropriate entries have been made on the permit, that

  - all tests specified by the permit have been conducted, and

  - all procedures and equipment specified by the permit are in place

before endorsing the permit and allowing entry to begin;

- Terminates the entry and cancels or suspends the permit;

- Verifies that rescue services are available and that the means for summoning them are operable, and that he/she will be notified as soon as the rescue services become unavailable;

- Removes unauthorized individuals who enter or who attempt to enter the permit-required confined space during entry operations; and

- Determines, whenever responsibility for a permit-required confined space entry operation is transferred, and at intervals dictated by the hazards and operations performed within the space, that entry operations remain consistent with terms of the entry permit and that acceptable entry conditions are maintained.

RESCUE AND EMERGENCY SERVICES

Entry Style Rescue

When we designate an OFF-SITE rescue and emergency services such as the local fire department or Contractor, the Safety Manager MUST:

- Evaluate a prospective rescuer's ability to respond to a rescue summons in a timely manner, considering the hazard(s) identified;

- Evaluate a prospective rescue service's ability, in terms of proficiency with rescue-related tasks and equipment, to function appropriately while rescuing entrants from the particular permit-required confined space or types of permit-required confined spaces identified;

- With the Plant Manager’s consultation, select a rescue team or service from those evaluated that:

  - Has the capability to reach the victim(s) within a time frame that is appropriate for the permit-required confined space hazard(s) identified;

  - Is equipped for, and proficient in, performing the needed rescue services;

  - Agrees to notify the entry supervisor immediately in the event that the rescue service becomes unavailable;

- Inform each rescue team or service of the hazards they may confront when called on to perform rescue at the site; and

- Provide the rescue team or service selected with access to all permit-required confined spaces from which rescue may be necessary so that the rescue team or service can develop appropriate rescue plans and practice rescue operations.

If we choose to have an IN-HOUSE rescue team, we MUST take the following measures and provide all equipment and training at no cost to those employees:

- Provide each member of the rescue team with the personal protective equipment (PPE) needed to conduct permit-required confined space rescues safely and train each affected employee so the employee is proficient in the use of that PPE;

- Train each affected employee to perform assigned rescue duties.

  - We MUST ensure that these employees successfully complete a recognized rescue training course provided by a reputable confined space rescue training provider.

    - This training and the provider should be evaluated and approved by the Safety Manager.

    - Most recognized rescue courses will be at least 24-hours long and require at least an 8-hour annual refresher which includes a MOCK RESCUE in one of the facility’s PRCS’s.

- Certify each rescuer in basic first aid and cardiopulmonary resuscitation (CPR).

- Ensure that rescue team members practice making permit-required confined space rescues at least once every 12 months, by means of simulated rescue operations in which they remove dummies, manikins, or actual persons from the actual permit-required confined spaces or from representative permit-required confined spaces, except practice rescue is not required where the affected employees properly performed a rescue operation during the last 12 months in the same permit-required confined space the authorized entrant will enter, or in a similar permit-required confined space.

  - Representative permit-required confined spaces MUST, with respect to opening size, configuration, and accessibility, simulate the types of permit-required confined spaces from which rescue is to be performed.

Non-Entry Rescue

Non-entry rescue is required for ALL entries made using an ENTRY-PERMIT, unless a Qualified Person (i.e. Safety Manager) has evaluated a request from the Entry Supervisor declaring the retrieval equipment would increase the overall risk of entry or would not contribute to the rescue of the entrant.

- The Plant Manager (or Department Manager in the absences of the PM) MUST APPROVE any such deviation by making a note on the entry permit and signing and dating his/her approved deviation from this requirement.

- The Entry Supervisor is RESPONSIBLE for designating an entry rescue service whenever non-entry rescue is not provided.

Whenever non-entry rescue is selected, the entry supervisor MUST ensure that retrieval systems or methods are used whenever an authorized entrant enters a permit-required confined space, and MUST confirm, prior to entry, that “emergency assistance” would be available in the event that non-entry rescue fails.

Non-Entry Rescue Retrieval systems MUST meet the following requirements:

- Each authorized entrant MUST use a full 5-point body harness, with a NFPA 1983 certified  “Life Safety Rope” attached at the center of the entrant's back near shoulder level, above the entrant's head, or at another point which we can establish presents a profile small enough for the successful removal of the entrant.

NOTE:  NFPA 1983 defines “LIFE SAFETY ROPE” as:  Rope dedicated SOLELY for the purpose of supporting people during rescue, fire-fighting, other emergency operations, or during training evolutions.

  - Wristlets or anklets may be used in lieu of the full body harness if the entry supervisor can demonstrate to Qualified Person that the use of a full body harness is infeasible or creates a greater hazard and that the use of wristlets or anklets is the safest and most effective alternative.

- The other end of the “Life Safety Rope” MUST be attached to a mechanical device or fixed point outside the permit-required confined space in such a manner that rescue can begin as soon as the rescuer becomes aware that rescue is necessary.

- A Victim Extrication Device (as defined by NFPA 1983), which provides at least a 4:1 mechanical advantage, MUST be used when entries involve vertical type permit-required confined spaces more than 5 feet (1.52 meters) deep.

- Equipment that is unsuitable for retrieval MUST not be used, including, but not limited to, retrieval lines that have a reasonable probability of becoming entangled with the retrieval lines used by other authorized entrants, or retrieval lines that will not work due to the internal configuration of the permit-required confined space.

- If an injured entrant is exposed to a substance for which a Safety Data Sheet (SDS) or other similar written information is required to be kept at the worksite, that SDS or written information MUST be made available to the medical facility treating the exposed entrant.

EMPLOYEE PARTICIPATION

The Safety Manager, Department Manager, and Plant Manager will consult with affected employees, those trained to be Entrants, Attendants, Entry Supervisors) on the development and implementation of all aspects of the permit-required confined space program.

We MUST make available to each affected employee and his/her authorized representatives all information required to be developed by this standard.